## Wish List Hospital July 2023
Wish list - 18 July 2023 | [10 empty] | 1 British Pound is about | 142.35 | Bangladeshi Taka
Hospital/Nursing | [10 empty] | 1 US dollar is about | 108.69 | Bangladeshi Taka
Sno | Name of items | quantity | Cost/unit | Total cost | British Pound | US dollar | Euro | Remarks | Status | Source | 1 Euro is about | 122.32 | Bangladeshi Taka
Urgent items
| Chimney and thermometer for incinerator | 1 | 350000 | 350000 | £2,458.73 | 3220.17 | 2861.35
| Vacuum Pump for water filtration (Lab) | 1 | 180000 | 180000 | £1,264.49 | 1656.09 | 1471.55
| Coagulation Analyser (lab) | 1 | 250000 | 250000 | £1,756.23 | 2300.12 | 2043.82
| Haemoglobin Meter (lab) | 1 | 50000 | 50000 | £351.25 | 460.02 | 408.76
| Smart TV for health messages OPD | 1 | 100000 | 100000 | £702.49 | 920.05 | 817.53
| Total |  |  | 930000 | £6,533.19 | 8556.44 | 7603.01
Items we need regularly
| Power Washer (for airconditioner maintenance) | 1 | 15000 | 15000 | £105.37 | 138.01 | 122.63
| Patient lockers (hospital wards) | 32 | 15000 | 480000 | £3,371.97 | 4416.23 | 3924.13
| Hospital beds (hospital wards) | 20 | 20000 | 400000 | £2,809.98 | 3680.19 | 3270.11
| Benches for patients (hospital wards) | 30 | 10000 | 300000 | £2,107.48 | 2760.14 | 2452.58
| Total |  |  | 1195000 | £8,394.80 | 10994.57 | 9769.46
Items we would like to have
| Digital Display Board | 1 | 250000 | 250000 | £1,756.23 | 2300.12 | 2043.82
| Bench top pasteuriser | 1 | 40000 | 40000 | £281.00 | 368.02 | 327.01
| Ceiling fans for OPD waiting area | 3 | 5000 | 15000 | £105.37 | 138.01 | 122.63
| Steel Cupboard (For instruments) CSR/OT | 1 | 100000 | 100000 | £702.49 | 920.05 | 817.53
| Electric Sewing Machine (Rehab Workshop) | 1 | 50000 | 50000 | £351.25 | 460.02 | 408.76
| Backup battery for Dermatome (Skin Graft machine) OT | 1 | 65000 | 65000 | £456.62 | 598.03 | 531.39
| Anaesthesia Monitor With Gas Analyzer (OT) | 1 | 250000 | 250000 | £1,756.23 | 2300.12 | 2043.82
| High volume Electric suction machine(5L.volume) for OT | 1 | 50000 | 50000 | £351.25 | 460.02 | 408.76
| Instrument Washing Machine for OT | 1 | 2000000 | 2000000 | £14,049.88 | 18400.96 | 16350.56
| Total |  |  | 2570000 | £18,054.09 | 23645.23 | 21010.46
Laboratory
Urgent
| Water Distillation, Smart. Capacity 4-6liters | 1 | 150000 | 150000 | £1,053.74 | 1380.07 | 1226.29
| Vortex mixture, digital system with high and low system. | 1 | 80000 | 80000 | £562.00 | 736.04 | 654.02
| Oven (Hot Air), 105 L, Tem: Programmable PID microprocessor control with digital displays for temp & time. Air jacketed heating system, safety thermostat as standard. Temp. Range: Ambient temp +5 to 250 0C | 1 | 150000 | 150000 | £1,053.74 | 1380.07 | 1226.29
| Philips PageWriter Cardiograph TC20 ECG Machine | 1 | 250000 | 250000 | £1,756.23 | 2300.12 | 2043.82
| Total |  |  | 630000 | £4,425.71 | 5796.3 | 5150.43
Less urgent
| ESR Analyzer – LCD display, Sample Capacity max 10, Random Loading pattern , Reading time in 30 min in Westergren method | 1 | 100000 | 100000 | £702.49 | 920.05 | 817.53
| Fully Automated, Random-Access, Clinical Chemistry Analyzer, including specific protein, therapeutic drugs… Up to 100 Photometric test / hour | 1 | ####### | 1500000 | £10,537.41 | 13800.72 | 12262.92
| Micropipette : Capacity 10 -100ul – digital | 4 | 20000 | 80000 | £562.00 | 736.04 | 654.02
| Micropipette : Capacity 100 -1000ul – digital | 2 | 30000 | 60000 | £421.50 | 552.03 | 490.52
| Micropipette : Capacity 5 – 50ul – digital | 3 | 15000 | 45000 | £316.12 | 414.02 | 367.89
| Micropipette : Capacity 20 -200ul – digital | 3 | 15000 | 45000 | £316.12 | 414.02 | 367.89
| Laminar Flow Cabinet / Microbiological Safety Cabinet Type II class, 4 ft cabinet, microprocessesor control system, digital display airflow speed, automatic speed compensation system, HEPA filters, alarm for power failure, pressure sensor monitoring, cabinet front is sloped 100 for enhanced comfort. | 1 | 600000 | 600000 | £4,214.96 | 5520.29 | 4905.17
| Blood Bank Refrigerator (133L /64 bags capacity) | 1 | ####### | 1100000 | £7,727.43 | 10120.53 | 8992.81
| Urine Analyzer, 11 parameter | 1 | 150000 | 150000 | £1,053.74 | 1380.07 | 1226.29
| PH meter – digital type | 1 | 100000 | 100000 | £702.49 | 920.05 | 817.53
| Semen Analyzer | 1 | 900000 | 900000 | £6,322.44 | 8280.43 | 7357.75
| Blood Culture – Fully automated system, 64 capacity | 1 | ####### | 1500000 | £10,537.41 | 13800.72 | 12262.92
| Fully automated Immunoassay System - | 1 | ####### | 1400000 | £9,834.91 | 12880.67 | 11445.39
| Total |  |  | 7580000 | £53,249.03 | £69,739.63 | £61,968.61
chaplains/reading room
| Microphone | 2 | 4000 | 8000 | £56.20 | 73.6 | 65.4
| Computer Set | 1 | 72000 | 72000 | £505.80 | 662.43 | 588.62
| Total |  |  | 80000 | £562.00 | 736.04 | 654.02

## Nursing skill lab`22
Material and Equipment Needs for Training Centre Nursing/Midwifery Skills Lab | [8 empty] | 1 British Pound is about | 111 | Bangladeshi Taka (BDT)
(Either replacements for worn models, or additional pieces for expanded class size) | [8 empty] | 1 US dollar is about | 85.5 | Bangladeshi Taka (BDT)
* unless noted as an estimate, these costs are quotes from local suppliers in Bangladesh | [8 empty] | 1 Euro is about | 97.98 | Bangladeshi Taka (BDT)
SL No | Item | Units | Unit Cost | Total Cost BDT | British pounds £ | USD $ | EUR | Priority | Funding Sources
CLINICAL PRACTICE DUMMIES | [9 empty] | Priority Messure
1 | CPR Simulation | 5 | 95000 | 475000 | 4279.2793 | 5555.5556 | 4847.9281 | High - Really needed! We don't have any |  | High - really needed and we don't have it |  | 584687.763
2 | Adult resuscitation simulation | 1 | 175000 | 175000 | 1576.5766 | 2046.7836 | 1786.0788 | High - Really needed! We don't have any |  | Medium - we need this replacement needed |  | 5409.439
3 | Female Catheterization simulation | 5 | 85000 | 425000 | 3828.8288 | 4970.7602 | 4337.6199 | Moderate - too old, replacement needed |  | Low - we are borrowing from other department |  | 13137.209
4 | Subcutaneous injection dummy (estimated cost) | 5 | 22000 | 110000 | 990.991 | 1286.5497 | 1122.6781 | Moderate - too old, replacement needed |  | Nice to have |  | 135405.2188
5 | Intramuscular injection dummy (estimated cost) | 5 | 22000 | 110000 | 990.991 | 1286.5497 | 1122.6781 | Moderate - too old, replacement needed |  |  |  | 135405.2188
6 | Intravenous injection/ vein puncture Model | 5 | 22000 | 110000 | 990.991 | 1286.5497 | 1122.6781 | Moderate - too old, replacement needed |  |  |  | 135405.2188
7 | Mama natal | 5 | 75000 | 375000 | 3378.3784 | 4385.9649 | 3827.3117 | Low-we are borrowing form other department |  |  |  | 461596.655
8 | Mama U (uterus) | 5 | 85000 | 425000 | 3828.8288 | 4970.7602 | 4337.6199 | Low-we are borrowing form other department |  |  |  | 523142.209
9 | Fetal Skull (visible suture line ) | 10 | 25000 | 250000 | 2252.2523 | 2923.9766 | 2551.5411 | High - Really needed! We don't have any |  |  |  | 282737.77
10 | Bony pelvis single or with organ | 10 | 45000 | 450000 | 4054.0541 | 5263.1579 | 4592.774 | Low-we are borrowing form other department |  |  |  | 508919.986
11 | Advance child birth simulation | 5 | 95000 | 475000 | 4279.2793 | 5555.5556 | 4847.9281 | High - Really needed! We don't have any |  |  |  | 584687.763
12 | Cervix dilation dummy (estimated cost) | 5 | 15000 | 75000 | 675.6757 | 877.193 | 765.4623 | Moderate - too old, replacement needed |  |  |  | 92323.331
13 | Normal length cervix dummy (estimated cost) | 5 | 15000 | 75000 | 675.6757 | 877.193 | 765.4623 | Moderate - too old, replacement needed |  |  |  | 92323.331
14 | Episiotomy/Perineal suture | 5 | 1500 | 7500 | 67.5676 | 87.7193 | 76.5462 | Moderate - too old, replacement needed |  |  |  | 9236.8331
|  |  | 777500 | 3537500 | 31869.3694 | 41374.269 | 36104.307
ANATOMY MODELS
1 | External, internal Female genital organs (estimated) | 4 | 8000 | 32000 | 288.2883 | 374.269 | 326.5973 | Low-we are borrowing form other department
2 | External, internal male genital organs (estimated) | 4 | 8000 | 32000 | 288.2883 | 374.269 | 326.5973 | Low-we are borrowing form other department
3 | Anatomy TORCHO (torso?) | 4 | 11500 | 46000 | 414.4144 | 538.0117 | 469.4836 | High - Really needed! We don't have any
4 | Muscular system | 2 | 55000 | 110000 | 990.991 | 1286.5497 | 1122.6781 | High - Really needed! We don't have any
5 | Digestive system model | 4 | 7800 | 31200 | 281.0811 | 364.9123 | 318.4323 | High - Really needed! We don't have any
6 | Respiratory system model | 4 | 7800 | 31200 | 281.0811 | 364.9123 | 318.4323 | High - Really needed! We don't have any
7 | Nervous system model | 4 | 15000 | 60000 | 540.5405 | 701.7544 | 612.3699 | High - Really needed! We don't have any
8 | Cardiovascular system model | 2 | 35000 | 70000 | 630.6306 | 818.7135 | 714.4315 | High - Really needed! We don't have any
9 | Endocrine System | 4 | 15000 | 60000 | 540.5405 | 701.7544 | 612.3699 | High - Really needed! We don't have any
10 | Skeleton (small) | 5 | 12500 | 62500 | 563.0631 | 730.9942 | 637.8853 | High - Really needed! We don't have any
11 | Skeleton (Big ) | 5 | 15000 | 75000 | 675.6757 | 877.193 | 765.4623 | High - Really needed! We don't have any
12 | Bones (loose/single)- 2 set each | 5 | 8200 | 41000 | 369.3694 | 479.5322 | 418.4527 | High - Really needed! We don't have any
13 | Teeth/Dental Model | 5 | 7500 | 37500 | 337.8378 | 438.5965 | 382.7312 | High - Really needed! We don't have any
14 | Eye and ear model | 5 | 7200 | 36000 | 324.3243 | 421.0526 | 367.4219 | High - Really needed! We don't have any
15 | Mechanism of labor( 2nd stage) (estimated cost) | 5 | 7500 | 37500 | 337.8378 | 438.5965 | 382.7312 | High - Really needed! We don't have any
16 | Breast model (estimated cost) | 5 | 5000 | 25000 | 225.2252 | 292.3977 | 255.1541 | High - Really needed! We don't have any
17 | Human organ systems posters x 12/set | 5 | 12000 | 60000 | 540.5405 | 701.7544 | 612.3699 | High - Really needed! We don't have any
|  |  | 238000 | 846900 | 7629.7297 | 9905.2632 | 8643.6007
INSTRUMENTS, EQUIPMENT FOR SKILL LAB NURSING INSTITUTE
1 | Feeding Cup | 5 | 1200 | 6000 | 54.0541 | 70.1754 | 61.237 | High - Really needed! We don't have any
2 | Microscope | 5 | 45000 | 225000 | 2027.027 | 2631.5789 | 2296.387 | High - Really needed! We don't have any
3 | Orthopedic instrument sets | 5 | 35000 | 175000 | 1576.5766 | 2046.7836 | 1786.0788 | High - Really needed! We don't have any
4 | Surgical Hammer | 5 | 500 | 2500 | 22.5225 | 29.2398 | 25.5154 | High - Really needed! We don't have any
5 | Ophthalmoscope | 5 | 42000 | 210000 | 1891.8919 | 2456.1404 | 2143.2945 | High - Really needed! We don't have any
6 | Otoscope | 5 | 15500 | 77500 | 698.1982 | 906.4327 | 790.9778 | High - Really needed! We don't have any
7 | Adult Ambu bag | 5 | 6500 | 32500 | 292.7928 | 380.117 | 331.7003 | High - Really needed! We don't have any
8 | Neonate-size ambu bag | 5 | 7500 | 37500 | 337.8378 | 438.5965 | 382.7312 | High - Really needed! We don't have any
9 | Breathing masks | 5 | 2000 | 10000 | 90.0901 | 116.9591 | 102.0616 | High - Really needed! We don't have any
10 | Non-rebreather Mask | 10 | 1500 | 15000 | 135.1351 | 175.4386 | 153.0925 | High - Really needed! We don't have any
11 | Oxygen Tubing (Adult) | 10 | 1500 | 15000 | 135.1351 | 175.4386 | 153.0925 | High - Really needed! We don't have any
12 | Oxygen Cylinder with meter | 10 | 25000 | 250000 | 2252.2523 | 2923.9766 | 2551.5411 | High - Really needed! We don't have any
13 | Laryngoscope | 5 | 19000 | 95000 | 855.8559 | 1111.1111 | 969.5856 | High - Really needed! We don't have any
14 | Endotrachial tube (ETT) Baby | 5 | 500 | 2500 | 22.5225 | 29.2398 | 25.5154 | High - Really needed! We don't have any
15 | Endotrachial tube adult 6.5, 7.5 | 5 | 700 | 3500 | 31.5315 | 40.9357 | 35.7216 | High - Really needed! We don't have any
16 | Baby airways | 10 | 2100 | 21000 | 189.1892 | 245.614 | 214.3295 | High - Really needed! We don't have any
17 | Adult airways | 10 | 2300 | 23000 | 207.2072 | 269.0058 | 234.7418 | High - Really needed! We don't have any
18 | Kidney Dish | 5 | 900 | 4500 | 40.5405 | 52.6316 | 45.9277 | High - Really needed! We don't have any
19 | Vaginal Speculum, Sims | 5 | 2500 | 12500 | 112.6126 | 146.1988 | 127.5771 | Low-we are borrowing form other department
20 | Vaginal Speculum, Cusco/'duck beak' | 5 | 2200 | 11000 | 99.0991 | 128.655 | 112.2678 | Low-we are borrowing form other department
21 | Instrument Drum | 5 | 3000 | 15000 | 135.1351 | 175.4386 | 153.0925 | High - Really needed! We don't have any
22 | Doppler | 5 | 5500 | 27500 | 247.7477 | 321.6374 | 280.6695 | High - Really needed! We don't have any
23 | Glucometer (RBS Check) | 5 | 2500 | 12500 | 112.6126 | 146.1988 | 127.5771 | High - Really needed! We don't have any
24 | Pulse oximeter | 5 | 2500 | 12500 | 112.6126 | 146.1988 | 127.5771 | High - Really needed! We don't have any
25 | Patient bed-normal | 1 | 22000 | 22000 | 198.1982 | 257.3099 | 224.5356 | High - Really needed! We don't have any
26 | Patient bed-special | 1 | 48000 | 48000 | 432.4324 | 561.4035 | 489.8959 | High - Really needed! We don't have any
27 | Birthing Chair | 2 | 7000 | 14000 | 126.1261 | 163.7427 | 142.8863 | Low-we are borrowing form other department
28 | Birthing Ball | 5 | 12000 | 60000 | 540.5405 | 701.7544 | 612.3699 | High - Really needed! We don't have any
|  |  | 315900 | 1440500 | 12977.4775 | 16847.9532 | 14701.98
FURNITURE SKILL LAB/SET-UP
1 | Almirah (storage | 4 | 25000 | 100000 | 900.9009 | 1169.5906 | 1020.6165 | High
2 | Book shelves | 4 | 30000 | 120000 | 1081.0811 | 1403.5088 | 1224.7397 | High
3 | Rubber Sheet | 10 | 3500 | 35000 | 315.3153 | 409.3567 | 357.2158 | High
4 | Draw Sheet | 10 | 500 | 5000 | 45.045 | 58.4795 | 51.0308 | High
5 | Bed Sheet | 20 | 1500 | 30000 | 270.2703 | 350.8772 | 306.1849 | High
6 | Towel | 10 | 500 | 5000 | 45.045 | 58.4795 | 51.0308 | High
7 | CPR Table | 5 | 10000 | 50000 | 450.4505 | 584.7953 | 510.3082 | High
8 | Suction Machine | 2 | 25000 | 50000 | 450.4505 | 584.7953 | 510.3082 | High
9 | Overbed Trolley | 5 | 9500 | 47500 | 427.9279 | 555.5556 | 484.7928 | High
10 | Emergency Trolley | 5 | 9500 | 47500 | 427.9279 | 555.5556 | 484.7928 | High
11 | Instrument Trolley | 5 | 5000 | 25000 | 225.2252 | 292.3977 | 255.1541 | High
12 | Ortho Instruments | 5 set |  |  | 0 | 0 | 0
13 | Desktop computer for skill LAB | 30 | 60000 | 1800000 | 16216.2162 | 21052.6316 | 18371.0961 | High
14 | Monitor for classroom use | 4 | 100000 | 400000 | 3603.6036 | 4678.3626 | 4082.4658 | High
15 | color printer for teaching materials | 1 | 40000 | 40000 | 360.3604 | 467.8363 | 408.2466 | High
16 | Laptop for classroom use | 6 | 100000 | 600000 | 5405.4054 | 7017.5439 | 6123.6987 | High
|  |  | 420000 | 3355000 | 30225.2252 | 39239.7661 | 34241.682